## Slide 1: Tuberculosis (TB) Chest X-ray Classification
Comparing Training from Scratch vs Transfer Learning
Custom CNN, ResNet50, DenseNet121, EfficientNet-B0, ViT-B/16

## Slide 2: Introduction
Tuberculosis is a top 10 cause of death worldwide.
Early, accurate detection via chest X-ray is critical, especially in resource-limited settings.
This project aims to automate binary classification: Normal vs Tuberculosis.

## Slide 3: Objective
Compare training deep learning models from scratch against transfer learning approaches.
Evaluate five distinct architectures: Custom CNN, ResNet50, DenseNet121, EfficientNet-B0, ViT-B/16.
Primary clinical focus: TB Recall (Sensitivity) to minimize false negatives.

## Slide 4: Dataset & Preprocessing
Kaggle Tuberculosis (TB) Chest X-ray Dataset.
~4,200 images total (~3,500 Normal, ~700 TB) - class imbalance addressed.
Images resized to 224x224.
Data Augmentation: Random horizontal flips, rotation, color jitter, affine translations.

## Slide 5: Methodology
Data Splits: 70% Train, 15% Validation, 15% Test.
Baseline: 4-block Custom CNN trained from scratch.
Transfer Learning Models: ResNet50, DenseNet121, EfficientNet-B0, ViT-B/16 pre-trained on ImageNet.
Differential Learning Rates used for transfer learning: low LR for backbone, higher LR for head.

## Slide 6: Model Architectures
Custom CNN: Local receptive field, builds context hierarchically.
DenseNet121: Dense feature reuse suited to medical imaging.
EfficientNet-B0: Efficient compound-scaled CNN.
ViT-B/16 (Vision Transformer): Global receptive field from layer 1 via patch-based self-attention.

## Slide 7: Results
Custom CNN: ~88% Acc, 0.928 AUC, ~73% TB Recall
ResNet50: ~96.8% Acc, 0.993 AUC, ~91.4% TB Recall
DenseNet121: ~97.6% Acc, 0.996 AUC, ~93.3% TB Recall
EfficientNet-B0: ~97.9% Acc, 0.997 AUC, ~95.2% TB Recall
ViT-B/16: ~98.6% Acc, 0.999 AUC, ~96.2% TB Recall

## Slide 8: Discussion
Transfer learning dramatically outperforms training from scratch.
ImageNet pre-training covers the requirement for massive data.
ViT-B/16 achieves the highest accuracy, AUC-ROC, and crucial TB Recall, making it ideal for clinical screening.

## Slide 9: Conclusion & Recommendations
Vision Transformers excel in medical image classification tasks due to their global long-range dependencies.
Deployment Recommendations: ViT-B/16 for maximum accuracy; EfficientNet-B0 for constrained compute.
Future Work: Incorporate Attention Rollout/Grad-CAM for interpretability and SMOTE for class imbalance.

## Slide 10: References
Dosovitskiy, A., et al. (2020). An Image is Worth 16x16 Words.
He, K., et al. (2015). Deep Residual Learning for Image Recognition.
Huang, G., et al. (2016). Densely Connected Convolutional Networks.
Tan, M. & Le, Q. (2019). EfficientNet: Rethinking Model Scaling.